# Laboratory Guide: Why a Photograph Is Not Enough

module_03 | Grade 8-12 | 4 days

# Module

ASCAND Procedures

# Grade Level

Grades 8-12

# Objectives

Understand the limitations of traditional photography in measurement.

Learn the ASCAND setup and operation for structured optical projection.

Record and analyze data using ASCAND technology.

# Materials Needed

ASCAND system components

Computer with ASCAND software installed

Calibration targets

Measuring tape

Notebook and pen for recording data

Cleaning materials for equipment

# Setup Procedure

Step: 1

### Instruction

Ensure that the ASCAND system is placed on a stable, level surface.

Step: 2

### Instruction

Connect the ASCAND projector and camera to the computer using the provided cables.

Step: 3

### Instruction

Power on the ASCAND system and launch the software on the computer.

Step: 4

### Instruction

Calibrate the ASCAND system using the provided calibration targets by following the on-screen instructions.

# Operation Procedure

Step: 1

### Instruction

Select the area or object you wish to measure.

Step: 2

### Instruction

Position the ASCAND projector to project structured light onto the target area.

Step: 3

### Instruction

Activate the ASCAND system to begin capturing data for analysis.

Step: 4

### Instruction

Monitor the live feed on the computer screen to ensure proper projection and camera alignment.

Step: 5

### Instruction

Once the data capture is complete, save the data set using the ASCAND software.

# Data Recording

Step: 1

### Instruction

Open the saved data set in the ASCAND software.

Step: 2

### Instruction

Record direct measurements provided by the software in your notebook.

Step: 3

### Instruction

Identify and note any calculated or estimated values displayed in the software.

Step: 4

### Instruction

Ensure all data is clearly labeled and organized for later analysis.

# Analysis Procedure

Step: 1

### Instruction

Review the recorded direct measurements and compare them to any calculated values.

Step: 2

### Instruction

Discuss any discrepancies observed between direct measurements and calculated values.

Step: 3

### Instruction

Analyze the role of AI-inferred estimates in relation to direct measurements.

Step: 4

### Instruction

Prepare a brief report summarizing findings, including potential limitations of the ASCAND data.

# Cleanup Procedure

Step: 1

### Instruction

Power off the ASCAND system and disconnect all cables.

Step: 2

### Instruction

Carefully clean the ASCAND projector and camera lenses with appropriate materials.

Step: 3

### Instruction

Store all equipment in the designated area.

Step: 4

### Instruction

Organize your notebook and ensure all data is backed up on your computer.

# Conclusion

In this laboratory guide, you learned how to use the ASCAND system to collect measurements that go beyond what a photograph can provide. Through structured optical projection and AI-based analysis, you gained insights into the importance of direct measurements, calculations, and estimates in scientific data collection.