# Gray Code Structured Light

module_05 | Grade 8-12 | 5 days

# Module

Gray Code Structured Light

# Setup

## Title

Setup Procedures

## Steps

### 1

#### Instruction

Gather all necessary equipment: ASCAND system, projector, camera, calibration board, computer with ASCAND software, and measurement tools.

### 2

#### Instruction

Position the projector at a fixed height and angle to ensure optimal projection onto the calibration board.

### 3

#### Instruction

Place the camera directly opposite the projector, ensuring it is aligned with the calibration board for accurate data capture.

### 4

#### Instruction

Connect the projector and camera to the computer and launch the ASCAND software.

### 5

#### Instruction

Calibrate the ASCAND system by following the on-screen instructions to ensure accurate data acquisition.

# Operation

## Title

Operation Procedures

## Steps

### 1

#### Instruction

Select the appropriate structured light pattern in the ASCAND software.

### 2

#### Instruction

Project the structured light onto the calibration board and observe the resulting patterns through the camera feed.

### 3

#### Instruction

Initiate the data capture process by clicking the 'Start Capture' button in the ASCAND software.

### 4

#### Instruction

Ensure the camera records the projected patterns for the duration specified by the software.

### 5

#### Instruction

Stop the data capture once the desired number of frames has been recorded.

# Data Recording

## Title

Data Recording Procedures

## Steps

### 1

#### Instruction

Review the captured data in the ASCAND software to confirm that it is complete and clear.

### 2

#### Instruction

Save the recorded data files in a designated folder on the computer for further analysis.

### 3

#### Instruction

Document any observations or anomalies encountered during data capture in your laboratory notebook.

# Analysis

## Title

Data Analysis Procedures

## Steps

### 1

#### Instruction

Open the saved data files in the ASCAND software for analysis.

### 2

#### Instruction

Utilize the built-in analysis tools to process the captured data and generate 3D models.

### 3

#### Instruction

Review the generated models for accuracy and identify any areas that may require further examination.

### 4

#### Instruction

Record measurement results and any derived calculations based on the 3D models in your laboratory notebook.

### 5

#### Instruction

Discuss your findings with peers or instructors, highlighting any estimates made using AI-inferred data.

# Cleanup

## Title

Cleanup Procedures

## Steps

### 1

#### Instruction

Power off the projector and camera, and disconnect them from the computer.

### 2

#### Instruction

Carefully disassemble the setup, returning all equipment to its designated storage location.

### 3

#### Instruction

Organize your laboratory space, ensuring that all materials are properly stored and the area is left clean.

### 4

#### Instruction

Submit your laboratory notebook for review, ensuring all data and observations are clearly recorded.