# Laser Triangulation

module_06 | Grade 8-12 | 5 days

# Module

Laser Triangulation

# Procedures

## Setup

### Title

Setup Procedures

### Steps

#### 1

##### Instruction

Gather all necessary equipment: ASCAND system, laser projector, camera, computer with ASCAND software, and calibration tools.

#### 2

##### Instruction

Position the laser projector at a fixed height and angle, ensuring it is stable and directed towards the target area.

#### 3

##### Instruction

Set up the camera at a predetermined distance from the laser projector, ensuring the field of view covers the area to be measured.

#### 4

##### Instruction

Connect the ASCAND system to the computer and launch the ASCAND software.

#### 5

##### Instruction

Calibrate the laser projector and camera using the provided calibration tools to ensure accurate measurements.

## Operation

### Title

Operation Procedures

### Steps

#### 1

##### Instruction

Select the measurement mode in the ASCAND software that corresponds to your experimental needs.

#### 2

##### Instruction

Initiate the laser projection to begin the structured optical projection process.

#### 3

##### Instruction

Allow the ASCAND system to analyze the projected patterns using AI-based analysis and sensor fusion.

#### 4

##### Instruction

Monitor the software interface for real-time feedback and ensure the system is functioning correctly.

#### 5

##### Instruction

Once the analysis is complete, review the preliminary results displayed by the software.

## Data Recording

### Title

Data Recording Procedures

### Steps

#### 1

##### Instruction

Save the measurement data and any relevant calibration settings within the ASCAND software.

#### 2

##### Instruction

Export the data to a CSV file for further analysis, ensuring to label the file appropriately with date and experiment details.

#### 3

##### Instruction

Document any observations or anomalies encountered during the measurement process in your laboratory notebook.

## Analysis

### Title

Analysis Procedures

### Steps

#### 1

##### Instruction

Import the CSV data into a data analysis software (e.g., Excel, MATLAB) for further calculations.

#### 2

##### Instruction

Perform derived calculations based on the recorded measurements to extract meaningful insights.

#### 3

##### Instruction

Use the AI-inferred estimations provided by the ASCAND system to supplement your analysis, noting that these are not direct measurements.

#### 4

##### Instruction

Summarize your findings and compare them against expected results or previous studies.

## Cleanup

### Title

Cleanup Procedures

### Steps

#### 1

##### Instruction

Power down the ASCAND system and disconnect it from the computer.

#### 2

##### Instruction

Carefully disassemble the laser projector and camera, storing them in their designated cases.

#### 3

##### Instruction

Clean the workspace, removing any debris or materials used during the experiment.

#### 4

##### Instruction

Return all equipment to their proper locations and ensure that the laboratory area is tidy.