# Laboratory Guide: AI Depth Estimation Using ASCAND

module_07 | Grade 8-12 | 5 days

# Module

AI Depth Estimation

# Grade Level

Grades 8-12

# Procedures

## Setup

### Step 1

Gather all necessary equipment: ASCAND unit, power supply, computer with the ASCAND software installed, measuring tape, and safety goggles.

### Step 2

Position the ASCAND unit on a stable surface, ensuring it is level. Connect it to the power supply and turn it on.

### Step 3

Launch the ASCAND software on the computer and establish a connection between the computer and the ASCAND unit.

### Step 4

Calibrate the ASCAND system following the manufacturer's guidelines, ensuring that the optical projection is aligned with the intended measurement area.

## Operation

### Step 1

Select the measurement mode on the ASCAND software, ensuring that the AI depth estimation feature is activated.

### Step 2

Using the measuring tape, define the area where depth estimation will occur, marking key points for reference.

### Step 3

Position the ASCAND unit at a predetermined distance from the measurement area, ensuring it has a clear line of sight to the marked points.

### Step 4

Initiate the data capture process in the ASCAND software. The system will project structured optical patterns onto the surface.

### Step 5

Monitor the real-time data analysis on the computer screen. The ASCAND system will process the data using AI-based analysis to estimate depth.

## Data Recording

### Step 1

Once the data capture is complete, save the output files generated by the ASCAND system.

### Step 2

Document the measurement parameters, including the distance from the ASCAND unit to the measurement area, environmental conditions, and any anomalies observed during the operation.

### Step 3

Record the AI-inferred depth estimation results provided by the ASCAND software for further analysis.

## Analysis

### Step 1

Import the saved data files into a data analysis software tool compatible with the ASCAND output format.

### Step 2

Analyze the depth estimation results, comparing them with direct measurements taken during the operation.

### Step 3

Discuss any discrepancies between the AI-inferred estimates and direct measurements, noting the possible causes of variation.

### Step 4

Prepare a report summarizing the findings, including graphical representations of depth estimation against direct measurements.

## Cleanup

### Step 1

Turn off the ASCAND unit and disconnect it from the power supply.

### Step 2

Safely store all equipment, including the ASCAND unit, computer, and measuring tape, in designated storage areas.

### Step 3

Clean the workspace, removing any debris or materials used during the lab session.

### Step 4

Ensure that all data files are backed up and securely stored for future reference.

# Safety Notes

Always wear safety goggles during the operation. Follow all laboratory safety protocols, and ensure that the work area is clear of obstructions.