# Sensor Fusion

module_09 | Grade 8-12 | 5 days

# Module

Sensor Fusion

# Laboratory Guide

## Title

ASCAND Sensor Fusion Laboratory Guide

## Objective

To understand and apply ASCAND technology for sensor fusion in measuring and analyzing 3D spatial data.

## Materials

ASCAND device

Laptop with ASCAND software installed

Calibration target (provided)

Measurement environment (indoor with controlled lighting)

Data recording sheets

Protective eyewear

## Setup

### Steps

#### 1

##### Description

Ensure the measurement environment is free from excessive movement and uncontrolled lighting.

#### 2

##### Description

Set up the ASCAND device on a stable surface, ensuring it is securely positioned and leveled.

#### 3

##### Description

Connect the ASCAND device to the laptop using the provided USB cable.

#### 4

##### Description

Power on the ASCAND device and launch the ASCAND software on the laptop.

#### 5

##### Description

Calibrate the ASCAND device using the calibration target according to the software instructions.

## Operation

### Steps

#### 1

##### Description

Position the ASCAND device to face the area or object you wish to measure.

#### 2

##### Description

Initiate the scanning process in the ASCAND software by clicking the 'Start Scan' button.

#### 3

##### Description

During the scanning process, ensure the environment remains stable and that no obstructions appear in the field of view.

#### 4

##### Description

Once the scan is complete, click 'Stop Scan' and allow the device to process the data.

## Data Recording

### Steps

#### 1

##### Description

After processing, save the scanned data in the designated file format using the ASCAND software.

#### 2

##### Description

Document the key details of the scan (e.g., date, time, location, object scanned) on the data recording sheet.

#### 3

##### Description

Export the data as needed for further analysis or share it with your instructor.

## Analysis

### Steps

#### 1

##### Description

Open the saved scan data in the ASCAND analysis software.

#### 2

##### Description

Review the 3D model generated from the scan and identify any areas of interest or anomalies.

#### 3

##### Description

Use the measurement tools within the software to obtain direct measurements from the 3D model.

#### 4

##### Description

Discuss any calculations or estimations made based on the measurements and observations with your group.

## Cleanup

### Steps

#### 1

##### Description

Power off the ASCAND device and disconnect it from the laptop.

#### 2

##### Description

Store the ASCAND device and all materials in their designated locations.

#### 3

##### Description

Ensure that the workspace is cleaned up and all waste is disposed of properly.

#### 4

##### Description

Return any unused materials to the supply area.