# AI Background Segmentation

module_10 | Grade 8-12 | 5 days

# Module

AI Background Segmentation

# Objective

To understand and apply ASCAND procedures for effective background segmentation using structured optical projection and AI-based analysis.

# Materials

ASCAND system

Computer with analysis software

Calibration targets

Measurement tools (rulers, markers)

Data recording sheets

Cleaning supplies

# Setup

## Step1

### Description

Gather all necessary materials and ensure the ASCAND system is in good working condition.

### Details

Inspect the ASCAND unit for any visible damage and check connections.

## Step2

### Description

Calibrate the ASCAND system.

### Details

Use the provided calibration targets. Follow the manufacturer’s instructions to ensure accurate structured optical projection.

## Step3

### Description

Set up the workspace.

### Details

Arrange the ASCAND system in a well-lit area free from distractions. Ensure that the measurement area is clear.

# Operation

## Step1

### Description

Power on the ASCAND system and launch the analysis software.

### Details

Wait for the system to boot up completely before proceeding.

## Step2

### Description

Position the object for analysis.

### Details

Place the object of interest within the designated measurement area. Ensure it is stable and well-illuminated.

## Step3

### Description

Initiate the measurement process.

### Details

Follow the software prompts to start the structured optical projection. Ensure that the background is clear for optimal segmentation.

## Step4

### Description

Monitor the data acquisition.

### Details

Observe the software interface for any errors during data capture. If issues arise, troubleshoot as necessary.

# Datarecording

## Step1

### Description

Review the captured data.

### Details

Check for completeness and quality of the background segmentation results.

## Step2

### Description

Record measurement data.

### Details

Document all direct measurements taken during the session in the data recording sheets. Include any relevant annotations.

## Step3

### Description

Save the analysis results.

### Details

Export the analysis data from the software in the specified format for further evaluation.

# Analysis

## Step1

### Description

Analyze the recorded data.

### Details

Use the analysis software to perform calculations based on the direct measurements. Compare against expected values.

## Step2

### Description

Interpret AI-inferred results.

### Details

Examine the background segmentation and any derived insights. Discuss how AI-based analysis contributed to your findings.

## Step3

### Description

Prepare a summary of findings.

### Details

Draft a report that includes both measurement and derived results, noting any discrepancies or unexpected outcomes.

# Cleanup

## Step1

### Description

Power down the ASCAND system.

### Details

Follow the proper shutdown procedures outlined in the user manual.

## Step2

### Description

Clean the workspace.

### Details

Remove any debris and return all materials to their designated storage locations.

## Step3

### Description

Dispose of any waste materials properly.

### Details

Follow your institution's guidelines for waste disposal, especially if any materials were used that require special handling.