# Laboratory Guide: Images into Information Using ASCAND

module_11 | Grade 8-12 | 4 days

# Module

Images into Information

# Grade Level

Grades 8-12

# Procedures

## Setup

### Title

Setup Procedures

### Steps

#### 1

##### Description

Gather all necessary materials including the ASCAND device, a stable surface for the setup, a laptop or tablet for data analysis, and any objects to be measured.

#### 2

##### Description

Position the ASCAND device on a stable surface, ensuring it is level and securely placed to avoid any movement during operation.

#### 3

##### Description

Connect the ASCAND device to the laptop or tablet using the provided USB or wireless connection method.

#### 4

##### Description

Launch the ASCAND software on the laptop or tablet and ensure that the device is properly recognized by the software.

#### 5

##### Description

Calibrate the ASCAND device by following the on-screen instructions, which may involve projecting a calibration pattern and ensuring accurate alignment.

## Operation

### Title

Operation Procedures

### Steps

#### 1

##### Description

Select the object you wish to measure and place it within the designated measurement area as indicated by the ASCAND software.

#### 2

##### Description

Initiate the measurement process by clicking the 'Start Measurement' button in the software interface.

#### 3

##### Description

Observe the structured optical projection as the ASCAND device captures data. Ensure that the object remains still during this process.

#### 4

##### Description

Once the measurement is complete, the ASCAND device will analyze the captured data using AI-based analysis and sensor fusion.

#### 5

##### Description

Review the preliminary results displayed on the software interface. Note that these results are based on AI-inferred data and should be treated as estimations.

## Data Recording

### Title

Data Recording Procedures

### Steps

#### 1

##### Description

Record the measurement results, including any direct measurements displayed by the ASCAND device and derived calculations if applicable.

#### 2

##### Description

Use the built-in data export feature of the ASCAND software to save your results in the specified format (CSV, Excel, etc.) for further analysis.

#### 3

##### Description

Ensure to document any observations during the measurement process, including potential sources of error or variation.

## Analysis

### Title

Data Analysis Procedures

### Steps

#### 1

##### Description

Open the recorded data file on your laptop or tablet using a compatible software program (e.g., Excel).

#### 2

##### Description

Analyze the direct measurements and derived calculations to evaluate the accuracy and reliability of the results.

#### 3

##### Description

Compare the AI-inferred estimates with your direct measurements to assess any discrepancies and discuss possible reasons for these variations.

#### 4

##### Description

Prepare a summary report outlining your findings, including any conclusions drawn from the data analysis.

## Cleanup

### Title

Cleanup Procedures

### Steps

#### 1

##### Description

Disconnect the ASCAND device from the laptop or tablet and carefully store it in its designated case to prevent damage.

#### 2

##### Description

Clear the measurement area of any objects used during the experiment, ensuring that the workspace is clean and organized.

#### 3

##### Description

Dispose of any waste materials responsibly and follow your school's protocols for hazardous materials if applicable.

#### 4

##### Description

Log out of any software applications used during the experiment and shut down the laptop or tablet.

# Notes

## Important

Always ensure safety protocols are followed during the experiment. Handle all equipment with care and report any malfunctions immediately.