# Laboratory Guide: Point Clouds with ASCAND

module_14 | Grade 8-12 | 5 days

# Module

Point Clouds

# Gradelevel

Grades 8-12

# Procedures

## Setup

### Title

Setup Procedure

### Steps

Step: 1

##### Instruction

Ensure the ASCAND system is placed on a stable, flat surface.

Step: 2

##### Instruction

Connect the power supply to the ASCAND unit and turn it on.

Step: 3

##### Instruction

Calibrate the system by following the on-screen prompts for initial setup.

Step: 4

##### Instruction

Set up the environment to ensure minimal interference from external light sources.

Step: 5

##### Instruction

Position the target object within the ASCAND’s operating range, ensuring it is clean and unobstructed.

## Operation

### Title

Operation Procedure

### Steps

Step: 1

##### Instruction

Select the appropriate scanning mode on the ASCAND interface based on the object characteristics.

Step: 2

##### Instruction

Initiate the scanning process by pressing the 'Start' button on the interface.

Step: 3

##### Instruction

Observe the progress on the screen; the system will project structured light patterns onto the object.

Step: 4

##### Instruction

Monitor the feedback from the system to ensure proper data acquisition is taking place.

Step: 5

##### Instruction

Once the scanning is complete, the system will provide a summary of the data collected.

## Datarecording

### Title

Data Recording Procedure

### Steps

Step: 1

##### Instruction

Review the collected data points displayed on the ASCAND interface.

Step: 2

##### Instruction

Export the point cloud data to the designated file format (e.g., .xyz, .ply) using the interface options.

Step: 3

##### Instruction

Save the data to an external storage device or cloud storage for further analysis.

Step: 4

##### Instruction

Document any observations or notes regarding the scanning process and results.

## Analysis

### Title

Data Analysis Procedure

### Steps

Step: 1

##### Instruction

Open the point cloud data file using compatible software for analysis.

Step: 2

##### Instruction

Visualize the point cloud to assess the quality and completeness of the data.

Step: 3

##### Instruction

Use measurement tools within the software to perform direct measurements on the point cloud.

Step: 4

##### Instruction

Conduct calculations to derive additional metrics such as volume or surface area based on the data.

Step: 5

##### Instruction

If applicable, utilize AI-based tools to estimate features or characteristics not directly measured.

## Cleanup

### Title

Cleanup Procedure

### Steps

Step: 1

##### Instruction

Power down the ASCAND system and disconnect it from the power supply.

Step: 2

##### Instruction

Carefully remove the target object and any materials used during the scanning process.

Step: 3

##### Instruction

Wipe down the ASCAND unit and surrounding area to remove any dust or debris.

Step: 4

##### Instruction

Store the ASCAND system and related equipment in their designated locations.

Step: 5

##### Instruction

Ensure that all data is securely saved and backed up according to your instructor’s guidelines.