# Meshes

module_15 | Grade 8-12 | 5 days

# Module

Meshes

# Task

ASCAND Procedures

# Sections

### Title

Setup

### Content

1. Gather all necessary equipment: ASCAND device, a calibrated target surface, power supply, and a laptop for data analysis.

2. Ensure the target surface is clean, flat, and free of obstructions to facilitate accurate data capture.

3. Position the ASCAND device at the recommended distance from the target surface, following the manufacturer's guidelines.

4. Connect the ASCAND device to the power supply and turn it on.

5. Connect the ASCAND device to the laptop using the provided USB or Ethernet cable.

6. Launch the ASCAND software on the laptop and check for device recognition.

### Title

Operation

### Content

1. Select the appropriate measurement mode in the ASCAND software based on the desired output.

2. Calibrate the ASCAND device according to the manufacturer's instructions to ensure accurate measurements.

3. Initiate the scanning process by following the on-screen prompts in the software.

4. Ensure that the structured optical projection is stable and that the target surface remains within the capture zone.

5. Monitor the scanning progress on the software interface. Adjust the device's position if necessary to maintain optimal coverage of the target area.

### Title

Data Recording

### Content

1. Once the scanning is complete, the ASCAND software will process the captured data using AI-based analysis and sensor fusion.

2. Review the generated mesh model for any areas that may require re-scanning or adjustment.

3. Save the processed data in the specified format (e.g., STL or OBJ) and ensure it is labeled clearly with the date and description of the scanned object.

4. Document any observations or anomalies during the scanning process in your lab notebook.

### Title

Analysis

### Content

1. Open the saved mesh model using compatible 3D modeling software for further analysis.

2. Evaluate the mesh for resolution and fidelity. Identify any discrepancies or areas needing improvement.

3. Perform calculations on the mesh dimensions as needed, ensuring to distinguish between direct measurements and derived calculations.

4. Use estimation methods, if necessary, to infer additional characteristics of the scanned object.

### Title

Cleanup

### Content

1. Power down the ASCAND device and disconnect it from the power supply and laptop.

2. Carefully store all equipment in designated areas to prevent damage.

3. Clean the target surface if applicable, removing any residues from the scanning process.

4. Dispose of any waste materials according to your school's safety and environmental guidelines.

5. Review your lab notebook entries and ensure all data is backed up and organized for future reference.