# Repairing Geometry

module_16 | Grade 8-12 | 5 days

# Module

Repairing Geometry

# Laboratory Guide

## Setup

### Title

Equipment Setup

### Steps

1. Gather all necessary equipment: ASCAND unit, calibration targets, computer with ASCAND software, and measurement tools (ruler, calipers).

2. Ensure the ASCAND unit is placed on a stable surface with adequate lighting.

3. Connect the ASCAND unit to the computer using the provided USB cable.

4. Launch the ASCAND software on the computer and ensure it recognizes the connected device.

5. Calibrate the ASCAND unit by following the on-screen instructions to align the calibration targets with the projection area.

## Operation

### Title

ASCAND Operation

### Steps

1. Position the object whose geometry needs repairing within the ASCAND's projection area.

2. Initiate the measurement sequence by selecting the appropriate mode in the ASCAND software.

3. Allow the ASCAND unit to project structured light onto the object and capture data.

4. Monitor the real-time analysis on the computer screen, ensuring the system is detecting all necessary features.

## Data Recording

### Title

Data Recording

### Steps

1. Once the measurement is complete, save the raw measurement data generated by the ASCAND unit.

2. Record any derived calculations (e.g., dimensions, angles) based on the captured data in a designated data sheet.

3. Note any AI-inferred estimates provided by the software regarding the object's geometry.

## Analysis

### Title

Data Analysis

### Steps

1. Analyze the recorded measurements to identify any discrepancies in the object's geometry.

2. Compare the derived calculations against the expected values for accuracy.

3. Utilize the AI-inferred estimates to gauge the potential areas requiring repair.

4. Document your findings and proposed repair methods based on the analysis.

## Cleanup

### Title

Cleanup Procedures

### Steps

1. Disconnect the ASCAND unit from the computer and store it in its protective case.

2. Safely dispose of any materials used during the measurement process.

3. Ensure the workspace is free of any equipment or debris.

4. Log out of the ASCAND software and shut down the computer.