# Laboratory Guide: Preparing for 3D Printing with ASCAND

module_17 | Grade 8-12 | 5 days

# Grade Level

Grades 8-12

# Modules

### Module Title

Preparation for 3D Printing

### Steps

#### Setup of ASCAND System

##### Instructions

Gather all required materials: ASCAND device, power supply, computer with ASCAND software, reference objects for calibration, and a clean workspace.

Connect the ASCAND device to the power supply and ensure it is properly powered on.

Install the ASCAND software on your computer and ensure it is updated to the latest version.

Position the ASCAND device in a stable location where it has a clear view of the area to be measured.

#### Calibration of the ASCAND Device

##### Instructions

Using the reference objects, follow the calibration procedure outlined in the ASCAND user manual to ensure accurate measurements.

Perform a preliminary test scan of the reference objects to verify that the calibration is successful.

Adjust the settings as needed based on the test scan results to optimize measurement quality.

#### Preparing the Object for Measurement

##### Instructions

Select the object you intend to measure for 3D printing.

Ensure the object is clean and free from any obstructions that could affect the measurement.

If necessary, use a matte spray to reduce reflections on shiny surfaces.

#### Measurement with ASCAND

##### Instructions

Position the ASCAND device to cover the entire object within its field of view.

Initiate the measurement process through the ASCAND software interface.

Monitor the measurement process, ensuring that the device is capturing data from all angles.

#### Data Recording

##### Instructions

Once the measurement is complete, save the collected data in the specified format as directed by the ASCAND software.

Document the measurement parameters used during the process, including the object type, measurement settings, and any adjustments made.

#### Data Analysis

##### Instructions

Import the saved measurement data into a compatible analysis software tool.

Analyze the data to derive the 3D model using the provided algorithms and tools within the software.

Review the output for any anomalies and verify that the derived model aligns with the expected dimensions.

#### Cleanup Procedures

##### Instructions

Power down the ASCAND device and safely disconnect it from the power supply.

Remove any materials used during the measurement process and clean the workspace.

Store the ASCAND device and all accessories in their designated locations.