# 3D File Formats

module_18 | Grade 8-12 | 4 days

# Module

3D File Formats

# Laboratory Guide

## Title

Laboratory Guide for Using ASCAND

## Objectives

Understand the function and components of ASCAND.

Learn to set up and operate ASCAND for capturing 3D data.

Record and analyze measurement data.

Perform proper cleanup after the experiment.

## Materials Needed

ASCAND system

Computer with ASCAND software installed

Calibration targets

Measurement objects

Data storage device

Cleaning supplies

## Procedures

### Setup

#### Step 1

##### Description

Unpack and assemble the ASCAND system according to the manufacturer's instructions.

##### Note

Ensure that all components are securely connected.

#### Step 2

##### Description

Set up the ASCAND system in a well-lit area with minimal interference.

##### Note

Avoid direct sunlight and reflective surfaces.

#### Step 3

##### Description

Calibrate the system using the provided calibration targets.

##### Note

Follow the calibration procedures detailed in the ASCAND user manual.

### Operation

#### Step 1

##### Description

Power on the ASCAND system and launch the software.

##### Note

Ensure that all connections are intact before powering on.

#### Step 2

##### Description

Select the appropriate measurement settings based on the object type and desired output.

##### Note

Refer to the ASCAND software documentation for guidance.

#### Step 3

##### Description

Position the measurement object in the field of view of the ASCAND system.

##### Note

Make sure the object is stable and within the defined measurement range.

#### Step 4

##### Description

Initiate the measurement process using the software interface.

##### Note

Monitor the progress and ensure the system is functioning correctly.

### Data Recording

#### Step 1

##### Description

Once measurements are complete, save the data to the designated storage device.

##### Note

Use a clear and descriptive filename for easy identification.

#### Step 2

##### Description

Document the measurement conditions, including object type, environmental conditions, and any adjustments made.

##### Note

This information will be crucial for later analysis.

### Analysis

#### Step 1

##### Description

Open the recorded data files using the ASCAND analysis software.

##### Note

Ensure the software is compatible with the file format generated.

#### Step 2

##### Description

Review the measurement data for any anomalies or discrepancies.

##### Note

Identify areas where direct measurements, calculations, or estimations were applied.

#### Step 3

##### Description

Conduct further analysis as needed, utilizing the software tools available.

##### Note

Remember that results are not perfect and should be interpreted with caution.

### Cleanup

#### Step 1

##### Description

Power down the ASCAND system and disconnect all components.

##### Note

Ensure that all devices are turned off before disassembly.

#### Step 2

##### Description

Carefully clean the ASCAND system and surrounding area using appropriate cleaning supplies.

##### Note

Avoid using harsh chemicals that may damage the equipment.

#### Step 3

##### Description

Store the ASCAND system and all accessories in their designated locations.

##### Note

Keep the equipment organized for future use.

## Safety Precautions

Always follow the manufacturer's safety guidelines while operating ASCAND.

Handle all equipment with care to prevent damage.

Ensure the workspace is free of clutter to avoid accidents.