# ASCAND Procedures for Reverse Engineering

module_19 | Grade 8-12 | 6 days

# Module

Reverse Engineering

# Introduction

This laboratory guide will walk you through the procedures for using the ASCAND system to gather data for reverse engineering applications. You will learn how to set up the equipment, operate the system, record data, analyze results, and perform cleanup after the experiment.

# Objectives

Understand the setup and operation of the ASCAND system.

Learn to record measurement data accurately.

Analyze the collected data for reverse engineering purposes.

Practice proper cleanup and maintenance of equipment.

# Materials

ASCAND system

Target object for reverse engineering

Computer with ASCAND software

Measurement tools (calipers, ruler)

Notebook for data recording

Cleaning supplies (lint-free cloth, isopropyl alcohol)

# Procedures

## Setup

Step: 1

#### Instruction

Choose a suitable workspace that is clean, well-lit, and free of distractions.

Step: 2

#### Instruction

Position the ASCAND system on a stable surface, ensuring that it is level and securely connected to the power source.

Step: 3

#### Instruction

Connect the ASCAND system to the computer and open the ASCAND software.

Step: 4

#### Instruction

Place the target object in the designated scanning area of the ASCAND system.

Step: 5

#### Instruction

Calibrate the ASCAND system according to the manufacturer’s instructions to ensure accurate measurements.

## Operation

Step: 1

#### Instruction

Launch the scanning process from the ASCAND software interface.

Step: 2

#### Instruction

Monitor the scanning process and make adjustments as necessary to ensure optimal data collection.

Step: 3

#### Instruction

Once the scan is complete, the software will process the data using AI-based analysis and sensor fusion.

## Data Recording

Step: 1

#### Instruction

Review the processed data displayed on the computer screen.

Step: 2

#### Instruction

Record all direct measurements obtained from the ASCAND system in your notebook.

Step: 3

#### Instruction

Note any derived calculations or AI-inferred estimations as indicated by the software.

## Analysis

Step: 1

#### Instruction

Analyze the recorded data to identify features and dimensions of the target object.

Step: 2

#### Instruction

Compare the measurement data with the original specifications or models, noting any discrepancies.

Step: 3

#### Instruction

Prepare a report summarizing your findings, including any potential implications for reverse engineering.

## Cleanup

Step: 1

#### Instruction

Power down the ASCAND system and disconnect it from the computer.

Step: 2

#### Instruction

Carefully remove the target object from the scanning area.

Step: 3

#### Instruction

Clean the ASCAND system and the surrounding workspace using a lint-free cloth and isopropyl alcohol.

Step: 4

#### Instruction

Return all materials to their designated storage locations.

# Safety

Always wear appropriate safety gear, including gloves and goggles, when handling equipment.

Ensure that the workspace is free from hazards and that all equipment is in good working condition.

# Conclusion

Following these procedures will help you effectively use the ASCAND system for reverse engineering applications. Remember to document your findings thoroughly and maintain a clean workspace.