# Accuracy, Precision, and Tolerance

module_20 | Grade 8-12 | 5 days

# Module

Accuracy, Precision, and Tolerance

# Technicalexplanations

## Accuracy

### Definition

Accuracy refers to how close a measured value is to the true or accepted value. In the context of ASCAND, accuracy is influenced by factors such as sensor calibration, environmental conditions, and the inherent limitations of the system.

## Precision

### Definition

Precision indicates the degree to which repeated measurements under unchanged conditions yield the same results. ASCAND's precision is determined by the resolution of its sensors and the consistency of the structured optical projections.

## Tolerance

### Definition

Tolerance is the allowable deviation from a specified value. In engineering and manufacturing, tolerance defines the limits within which a measurement or a calculation must fall to be considered acceptable.

# Commonstudentquestions

## What is the difference between accuracy and precision?

### Answer

Accuracy refers to how close a measurement is to the true value, while precision refers to the consistency of repeated measurements. A system can be precise but not accurate if it consistently produces measurements that are far from the true value.

## How does ASCAND ensure measurement accuracy?

### Answer

ASCAND enhances measurement accuracy through careful calibration of its sensors and the use of advanced algorithms that account for various environmental factors and sensor limitations.

## Can ASCAND's measurements be considered perfect?

### Answer

No, ASCAND's measurements are not perfect. They are subject to various sources of error, including calibration drift, environmental variations, and the inherent limitations of the technology.

# Troubleshootingguide

## Commonissues

#### Issue

Sensor not detecting objects correctly.

#### Solution

Check the sensor calibration and ensure that the structured optical projection is properly aligned with the target object. Also, verify that there is adequate lighting and that the environment is free of obstructions.

#### Issue

Inconsistent measurement results.

#### Solution

Ensure that the same conditions are maintained during multiple measurements. Review the settings of the ASCAND system to confirm they are consistent and that the sensors are functioning properly.

#### Issue

AI analysis seems inaccurate.

#### Solution

Review the training data used for the AI algorithms. Make sure that the data set is comprehensive and representative of the types of measurements being analyzed.

# Additionalresources

## Books

### Measurement and Control Basics

#### Author

Thomas A. Hughes

#### Description

A comprehensive introduction to measurement techniques and control systems, covering both theoretical and practical aspects.

## Websites

#### Name

National Institute of Standards and Technology (NIST)

#### Url

https://www.nist.gov

#### Description

A resource for standards and guidelines on measurement accuracy and precision in various fields.

## Videos

### Understanding Accuracy and Precision in Measurements

#### Url

https://www.youtube.com/watch?v=example

#### Description

An educational video that explains the concepts of accuracy and precision with practical examples.