# Laboratory Guide for ASCAND Procedures

module_21 | Grade 8-12 | 5 days

# Module

Quality Control

# Introduction

This guide provides step-by-step procedures for using ASCAND in quality control applications. Follow each step carefully to ensure accurate measurements and effective analysis.

# Procedures

## Setup

### Title

Setup Procedures

### Steps

#### 1

##### Description

Ensure that the ASCAND system is placed on a stable, level surface, free from vibrations.

#### 2

##### Description

Connect the ASCAND system to a power source and turn it on. Allow the system to complete its self-checks.

#### 3

##### Description

Set up the optical projection unit according to the manufacturer's guidelines, ensuring the projection area is clean and unobstructed.

#### 4

##### Description

Calibrate the system using the provided calibration target. Follow the on-screen instructions for accurate calibration.

#### 5

##### Description

Prepare the sample for measurement by ensuring it is clean and positioned correctly within the measurement area.

## Operation

### Title

Operation Procedures

### Steps

#### 1

##### Description

Select the appropriate measurement mode on the ASCAND interface based on the quality control requirements.

#### 2

##### Description

Initiate the measurement process by pressing the 'Start' button on the ASCAND interface.

#### 3

##### Description

Monitor the optical projection and data collection process. The system will utilize AI-based analysis to evaluate the sample.

#### 4

##### Description

Once the measurement is complete, the system will provide preliminary results. Review these results for any immediate discrepancies.

## Data Recording

### Title

Data Recording Procedures

### Steps

#### 1

##### Description

Record the measurement data as provided by the ASCAND system. Ensure that you note the measurement conditions.

#### 2

##### Description

Use the built-in export function to save the results in the designated file format (e.g., CSV, PDF).

#### 3

##### Description

Create a backup of the data on an external drive or cloud storage to prevent data loss.

## Analysis

### Title

Data Analysis Procedures

### Steps

#### 1

##### Description

Import the recorded data into the analysis software for further evaluation.

#### 2

##### Description

Analyze the data using statistical methods to identify trends, averages, and variations.

#### 3

##### Description

Compare the results against the quality control standards to determine if the sample meets the required specifications.

#### 4

##### Description

Document any findings and conclusions, highlighting any areas of concern or further investigation.

## Cleanup

### Title

Cleanup Procedures

### Steps

#### 1

##### Description

Power down the ASCAND system and disconnect it from the power source.

#### 2

##### Description

Carefully clean the optical projection unit and surrounding area with appropriate cleaning materials.

#### 3

##### Description

Store the ASCAND system and accessories in their designated locations to protect them from damage.

#### 4

##### Description

Dispose of any waste materials according to your laboratory's safety and disposal guidelines.

# Conclusion

By following these procedures, you will ensure that your use of ASCAND in quality control is effective and reliable. Remember to always review your results critically and consult your instructor if you have any questions.