# ASCAND Laboratory Guide

module_24 | Grade 8-12 | 5 days

# Module

Robots That Can See

# Introduction

In this laboratory exercise, you will explore how ASCAND can be utilized to capture and analyze spatial data. You will work with structured optical projection, AI-based analysis, and sensor fusion to perform measurements of objects in a controlled environment. This guide will walk you through the setup, operation, data recording, analysis, and cleanup procedures.

# Objectives

Understand the principles of structured optical projection.

Learn how to operate the ASCAND system for capturing spatial data.

Record and analyze data collected using the ASCAND system.

Differentiate between measurement, calculation, and estimation in data analysis.

# Materials

ASCAND system

Computer with data analysis software

Calibration object

Measuring tape

Markers

Notebook for recording observations

Cleaning supplies (cloth, wipes)

# Procedures

## Setup

### Step1

Position the ASCAND system at a height that allows for a clear view of the calibration object.

### Step2

Ensure that the environment is well-lit and free of obstructions that could interfere with the structured optical projection.

### Step3

Connect the ASCAND system to the computer and launch the control software.

### Step4

Calibrate the ASCAND system using the calibration object. Follow the on-screen instructions to ensure accurate data capture.

## Operation

### Step1

Select the object you wish to analyze and place it within the field of view of the ASCAND system.

### Step2

Initiate the data capture process on the control software. Allow the system to perform its structured optical projection.

### Step3

Monitor the progress of the data capture. Ensure that the system is not interrupted during this process.

## Data Recording

### Step1

Once the data capture is complete, save the collected spatial data to the computer.

### Step2

Record any observations regarding the clarity of the data and any anomalies noted during the capture.

### Step3

Document the details of the measurement, including the dimensions and characteristics of the object analyzed.

## Analysis

### Step1

Open the data analysis software and import the collected spatial data.

### Step2

Use the software tools to visualize the data. Identify key features and measurements from the analysis.

### Step3

Differentiate between direct measurements obtained from the data, any derived calculations you may perform, and estimations that may require AI inference.

### Step4

Summarize your findings in your notebook, noting any limitations or uncertainties in the results.

## Cleanup

### Step1

Power down the ASCAND system and disconnect it from the computer.

### Step2

Carefully remove any objects from the workspace and store them in their designated locations.

### Step3

Clean the ASCAND system and the workspace with appropriate cleaning supplies to maintain equipment integrity.

### Step4

Ensure that all data is backed up and secure before leaving the laboratory.

# Safety

## Note

Always wear appropriate personal protective equipment (PPE) when working in the laboratory. Follow all safety protocols and guidelines provided by your instructor.

# Conclusion

By completing this laboratory exercise, you will gain hands-on experience with the ASCAND system and develop a deeper understanding of how structured optical projection, AI-based analysis, and sensor fusion can be applied in spatial data capture and analysis.