# Machine Vision in Manufacturing

module_25 | Grade 8-12 | 5 days

# Module

Machine Vision in Manufacturing

# Objective

To explore the use of ASCAND for measurement and analysis in manufacturing processes.

# Materialsrequired

ASCAND system components

Calibration targets

Computer with ASCAND software

Measuring tape

Safety goggles

Lab notebook

Pens

# Safetyprecautions

Always wear safety goggles during the experiment.

Ensure all equipment is properly calibrated before use.

Follow all lab safety protocols.

# Setupprocedure

## Step1

Gather all materials and check that the ASCAND system components are functioning correctly.

## Step2

Select an appropriate area in the laboratory for the ASCAND setup, ensuring it is well-lit and free of obstructions.

## Step3

Position the ASCAND projector at a stable height and angle, aimed at the calibration targets.

## Step4

Connect the ASCAND components to the computer and launch the ASCAND software.

# Operationprocedure

## Step1

Calibrate the ASCAND system using the provided calibration targets. Follow the on-screen instructions in the ASCAND software for accurate calibration.

## Step2

Once calibrated, place the object to be measured within the ASCAND projection area.

## Step3

Initiate the measurement process through the software interface. The ASCAND system will project structured light onto the object.

## Step4

Allow the system to perform AI-based analysis and sensor fusion to capture the necessary data.

# Datarecording

## Step1

After the measurement process is complete, record the direct measurements provided by the ASCAND system in your lab notebook.

## Step2

Document any derived calculations that you perform using the direct measurements.

## Step3

Note any AI-inferred estimations made by the ASCAND system and how they relate to the measurements.

# Analysisprocedure

## Step1

Analyze the recorded data by comparing direct measurements with derived calculations.

## Step2

Evaluate the AI-inferred estimations and discuss their implications regarding accuracy and reliability.

## Step3

Prepare a brief report summarizing your findings, including any discrepancies observed during the experiment.

# Cleanupprocedure

## Step1

Turn off the ASCAND system and disconnect all components from the computer.

## Step2

Carefully pack all materials and ensure that the workspace is clean and organized.

## Step3

Return all equipment to its designated storage area and dispose of any waste materials according to lab protocols.

# Conclusion

Reflect on the importance of accurate measurements, calculations, and estimations in manufacturing processes, and consider how technologies like ASCAND can enhance these practices.