# Laboratory Guide: Machine Vision in Space Exploration

module_28 | Grade 8-12 | 5 days

# Module

Machine Vision in Space Exploration

# Introduction

In this laboratory exercise, students will explore the applications of ASCAND for capturing and analyzing spatial data relevant to space exploration. Students will learn to set up the ASCAND system, operate it for data collection, and analyze the results while adhering to scientific protocols.

# Objectives

Understand the components and functioning of the ASCAND system.

Set up the ASCAND system for data collection.

Collect spatial data using structured optical projection and AI-based analysis.

Record and analyze data accurately while distinguishing between measurement, calculation, and estimation.

# Materials

ASCAND system components

Computer with ASCAND software installed

Measurement tools (e.g., rulers, calipers)

Data recording sheets

Safety goggles

# Setup Procedure

Step: 1

### Description

Ensure the workspace is clean and free of obstructions.

Step: 2

### Description

Set up the ASCAND system on a stable surface, ensuring it is level.

Step: 3

### Description

Connect all cables according to the ASCAND user manual, ensuring secure connections.

Step: 4

### Description

Power on the ASCAND system and computer.

Step: 5

### Description

Launch the ASCAND software and ensure it recognizes the hardware.

# Operation Procedure

Step: 1

### Description

Select the appropriate project settings in the ASCAND software.

Step: 2

### Description

Position the object to be analyzed within the projection area of the ASCAND system.

Step: 3

### Description

Initiate the data capture process by clicking 'Start' in the software.

Step: 4

### Description

Monitor the data collection process for any errors or interruptions.

Step: 5

### Description

Once data collection is complete, save the data files as instructed by the software.

# Data Recording Procedure

Step: 1

### Description

Document the parameters used during data collection (e.g., object dimensions, environmental conditions).

Step: 2

### Description

Record raw measurements obtained directly from the ASCAND system.

Step: 3

### Description

Perform calculations based on the recorded measurements to derive additional data points as needed.

Step: 4

### Description

Note any estimations made by the AI during data collection, highlighting their inferred nature.

# Analysis Procedure

Step: 1

### Description

Open the recorded data files in the ASCAND analysis software.

Step: 2

### Description

Visualize the data using the software's graphical tools to identify patterns or anomalies.

Step: 3

### Description

Generate reports summarizing the findings, including both measurements and calculations.

Step: 4

### Description

Discuss the implications of the results, noting the distinctions between direct measurements, derived calculations, and AI-inferred estimations.

# Cleanup Procedure

Step: 1

### Description

Power down the ASCAND system and computer following the proper shutdown procedure.

Step: 2

### Description

Disconnect all cables and store components in their designated locations.

Step: 3

### Description

Clean the workspace, ensuring all materials are returned to their proper storage.

Step: 4

### Description

Dispose of any waste materials according to safety protocols.

Step: 5

### Description

Complete the laboratory log with reflections on the experiment and findings.

# Conclusion

In this lab, you have engaged with the ASCAND system to capture and analyze spatial data relevant to space exploration. Understanding the differences between measurement, calculation, and estimation is crucial for interpreting your findings accurately.